## Sheet1
The wind measurement campaign that has generated this data was commissioned by The World Bank with funding from the Energy Sector Management Assistance Program (ESMAP). The data is made freely available under The World Bank’s open data policy.
More information at: http://www.esmap.org/RE_Mapping
LOCATION
Site Name | ZA_Wind_Lusaka2_SouthProvince
Equipment | 80 m guyed wind measurement meterological mast
Host Institution | N/A
Elevation (m) | 1184
Latitude (positive North, decimal degrees) | -14.804694°
Longitude (positive East, decimal degrees) | 28.033667°
TIME
Time Zone | (GMT+02:00)
10 minute averaged data, computed from at least 1 Hz observations
Original data temporal resolution | 0.5 Hz
SERVICE PROVIDER
Company | DNV GL
Address | 333 SW 5th Ave., Suite 400, Portland OR 97204 USA
Tel | +1 514 272-2175 X234
Web | www.dnvgl.com
Email | shant.dokouzian@dnvgl.com
SENSOR SUMMARY
Sensor manufacturer | Height (m) | Orientation (deg, clockwise from north) | Sensor Type | Model | Start Date | End Date | Serial Number | Data Logger Channel | Slope* | Offset*
Thies | 80 | 28 | anemometer | 4.3351.10.000 First Class | 2016-11-21 | ongoing | 07157729 | C5 | 0.04596 | 0.2601
Thies | 60 | 28 | anemometer | 4.3351.10.000 First Class | 2016-11-21 | ongoing | 07157719 | C6 | 0.0461 | 0.2327
Thies | 40.5 | 28 | anemometer | 4.3351.10.000 First Class | 2016-11-21 | ongoing | 07157694 | C7 | 0.04593 | 0.264
Thies | 20 | 28 | anemometer | 4.3351.10.000 First Class | 2016-11-21 | ongoing | 07157717 | C8 | 0.04594 | 0.2598
RNRG | 80 | 208 | anemometer | Class 1 #40C | 2016-11-21 | ongoing | 596600001647 | P1/C1 | 0.754 | 0.29
RNRG | 60 | 208 | anemometer | Class 1 #40C | 2016-11-21 | ongoing | 596600001659 | P2/C2 | 0.757 | 0.29
RNRG | 40.5 | 208 | anemometer | Class 1 #40C | 2016-11-21 | ongoing | 596600001660 | P3/C3 | 0.761 | 0.25
RNRG | 20 | 208 | anemometer | Class 1 #40C | 2016-11-21 | ongoing | 596600001572 | P4/C4 | 0.764 | 0.22
Thies | 77 | 28 | Wind vane | 4.3151.10.110 First Class | 2016-11-21 | ongoing | (missing) | SE1 | 0.072 | 208
Thies | 58 | 28 | Wind vane | 4.3151.10.110 First Class | 2016-11-21 | ongoing | (missing) | SE2 | 0.072 | 208
RNRG | 77 | N/A | Themometer | 110SC | 2016-11-21 | ongoing | 9037 00004 | SE3 | 0.055802 | -86.404
RNRG | 4 | N/A | Themometer | 110SC | 2016-11-21 | ongoing | 4428 03193 | SE4 | 0.055739 | -86.118
RNRG | 4 | N/A | Barometer | BP20 | 2016-11-21 | ongoing | 1805 25643 | SE5 | 0.2179 | 107.1
RNRG | 4 | N/A | Relative Humidity | RH-5X | 2016-11-21 | ongoing | (missing) | SE6 | 0.02 | 0
*: For the RNRG anemometers, this is the slope and offset in logger program and originates from the abridged calibration information on the sensor boxes. DNV GL recommends replacing with the complete calibration slope and offset found at https://www.renewablenrgsystems.com/
FIELDS
DateTime | Date and time (DD/MM/YYYY HH:MM)
SW80 Mean | Southwest Anemometer Mean wind speed (m/s) at 80 m above ground
SW80 StdDev | Southwest Anemometer Standard Deviation at 80 m above ground
SW80 Max | Southwest Anemometer Maximum wind speed (m/s) at 80 m above ground
SW80 Min | Southwest Anemometer Minimum wind speed (m/s) at 80 m above ground
NE80 Mean | Northeast Anemometer Mean wind speed (m/s) at 80 m above ground
NE80 StdDev | Northeast Anemometer Standard Deviation at 80 m above ground
NE80 Max | Northeast Anemometer Maximum wind speed (m/s) at 80 m above ground
NE80 Min | Northeast Anemometer Minimum wind speed (m/s) at 80 m above ground
SW60 Mean | Southwest Anemometer Mean wind speed (m/s) at 60 m above ground
SW60 StdDev | Southwest Anemometer Standard Deviation at 60 m above ground
SW60 Max | Southwest Anemometer Maximum wind speed (m/s) at 60 m above ground
SW60 Min | Southwest Anemometer Minimum wind speed (m/s) at 60 m above ground
NE60 Mean | Northeast Anemometer Mean wind speed (m/s) at 60 m above ground
NE60 StdDev | Northeast Anemometer Standard Deviation at 60 m above ground
NE60 Max | Northeast Anemometer Maximum wind speed (m/s) at 60 m above ground
NE60 Min | Northeast Anemometer Minimum wind speed (m/s) at 60 m above ground
SW41 Mean | Southwest Anemometer Mean wind speed (m/s) at 40.5 m above ground
SW41 StdDev | Southwest Anemometer Standard Deviation at 40.5 m above ground
SW41 Max | Southwest Anemometer Maximum wind speed (m/s) at 40.5 m above ground
SW41 Min | Southwest Anemometer Minimum wind speed (m/s) at 40.5 m above ground
NE41 Mean | Northeast Anemometer Mean wind speed (m/s) at 40.5 m above ground
NE41 StdDev | Northeast Anemometer Standard Deviation at 40.5 m above ground
NE41 Max | Northeast Anemometer Maximum wind speed (m/s) at 40.5 m above ground
NE41 Min | Northeast Anemometer Minimum wind speed (m/s) at 40.5 m above ground
SW20 Mean | Southwest Anemometer Mean wind speed (m/s) at 20 m above ground
SW20 StdDev | Southwest Anemometer Standard Deviation at 20 m above ground
SW20 Max | Southwest Anemometer Maximum wind speed (m/s) at 20 m above ground
SW20 Min | Southwest Anemometer Minimum wind speed (m/s) at 20 m above ground
NE20 Mean | Northeast Anemometer Mean wind speed (m/s) at 20 m above ground
NE20 StdDev | Northeast Anemometer Standard Deviation at 20 m above ground
NE20 Max | Northeast Anemometer Maximum wind speed (m/s) at 20 m above ground
NE20 Min | Northeast Anemometer Minimum wind speed (m/s) at 20 m above ground
WD77 Mean | Wind Direction Mean at 77 m above ground (degrees north, clockwise)
WD77 StdDev | Wind Direction Standard Deviation at 77 m above ground (degrees north, clockwise)
WD77 Max | Wind Direction Maximum at 77 m above ground (degrees north, clockwise)
WD77 Min | Wind Direction Minimum at 77 m above ground (degrees north, clockwise)
WD58 Mean | Wind Direction Mean at 58 m above ground (degrees north, clockwise)
WD58 StdDev | Wind Direction Standard Deviation at 58 m above ground (degrees north, clockwise)
WD58 Max | Wind Direction Maximum at 58 m above ground (degrees north, clockwise)
WD58 Min | Wind Direction Minimum at 58 m above ground (degrees north, clockwise)
T77 Mean | Mean Temperature at 77 m above ground (degrees Celsius)
T77 StdDev | Temperature Standard Deviation at 77 m above ground (degrees Celsius)
T77 Max | Maximum Temperature at 77 m above ground (degrees Celsius)
T77 Min | Minimum Temperature at 77 m above ground (degrees Celsius)
T4 Mean | Mean Temperature at 4 m above ground (degrees Celsius)
T4 StdDev | Temperature Standard Deviation at 4 m above ground (degrees Celsius)
T4 Max | Maximum Temperature at 4 m above ground (degrees Celsius)
T4 Min | Minimum Temperature at 4 m above ground (degrees Celsius)
P4 Mean | Mean Pressure at 4 m above ground (degrees Celsius)
P4 StdDev | Pressure Standard Deviation at 4 m above ground (degrees Celsius)
P4 Max | Maximum Pressure at 4 m above ground (degrees Celsius)
P4 Min | Minimum Pressure at 4 m above ground (degrees Celsius)
RH4 Mean | Mean Relative Humidity at 4 m above ground (degrees Celsius)
RH4 StdDev | Relative Humidity Standard Deviation at 4 m above ground (degrees Celsius)
RH4 Max | Maximum Relative Humidity at 4 m above ground (degrees Celsius)
RH4 Min | Minimum Relative Humidity at 4 m above ground (degrees Celsius)
V Mean | Battery Voltage (V)
V StdDev | N/A
V Max | N/A
V Min | N/A
noValue | 9999
Comments (cleaned data):
Sensor | Start | End | Reason | Additionnal Comment
RH4 | 2016-11-26 09:20 | 2017-07-06 07:40 | Suspect | Intermittent suspect data due to sensor firmware malfunction. Sensor was replaced.
ALL SENSORS | 2017-10-31 11:10 | 2017-11-02 13:40 | No data | Power failure. Repaired.
SW20 | 2017-12-09 19:30 | 2017-12-10 00:30 | Suspect | Suspect data.
SW60 | 2018-01-30 01:40 | 2018-01-30 05:30 | Suspect | Suspect data.
SW60 | 2018-02-01 05:10 | 2018-02-01 09:20 | Suspect | Suspect data.
SW60 | 2018-02-01 19:10 | 2018-02-02 03:00 | Suspect | Suspect data.
SW60 | 2018-02-19 01:30 | 2018-02-19 02:40 | Suspect | Suspect data.
SW60 | 2018-02-19 12:50 | 2018-02-19 15:50 | Suspect | Suspect data.
SW60 | 2018-02-20 07:50 | 2018-02-20 15:20 | Suspect | Suspect data.
SW60 | 2018-02-21 22:20 | 2018-02-22 01:30 | Suspect | Suspect data.
SW60 | 2018-03-08 10:50 | 2018-03-10 20:00 | Suspect | Intermittent Suspect data.
SW80 | 2018-12-12 21:30 | 2018-12-16 16:20 | Suspect | Intermittent Suspect data.
Note: Data Quality Control up to 23 December 2018 only.