## Mumbwa
LOCATION
Site Name | ZM_Solar_Mumbwa_IFC
Equipment | Tier 2 station with two thermopile pyranometers and a Delta-T SPN1 thermopile pyranometer (measuring DHI)
Host Institution | IFC
Elevation (m) | 1103
Latitude (positive North, decimal degrees) | -15.0853
Longitude (positive East, decimal degrees) | 27.0015
TIME
Time Zone | UTC+2
Summarisation Interval | 1 minute
Original data temporal resolution | 1 minute
SERVICE PROVIDER
Company | GeoSUN Africa
Address | Unit 1, CS Africa Building, 1 Meson Street, Techno Park, 7600, Stellenbosch, South Africa
Tel | +27 (0) 21 882 8354
Web | http://www.geosun.co.za/
Emails | info@geosun.co.za
SENSOR SUMMARY
Sensor manufacturer | Height | Orientation | Sensor Type | Model | Start Date | End Date | Serial Number | Slope | Offset
Delta-T | 2m |  | Thermopile Pyranometer | SPN1 | 2017-08-15 | 2018-08-31 | A1702
Hukseflux | 2m |  | Thermopile Pyranometer | SR20-T2 | 2017-08-15 | 2018-08-31 | 7203
Hukseflux | 2m |  | Thermopile Pyranometer | SR20-T2 | 2017-08-15 | 2018-08-31 | 7204
Campbell Scientific | 2m |  | Thermometer and Hygrometer | CSS215 | 2017-08-15 | 2018-08-31 | E17292 |  | 1
Vaisala |  |  | Barometer | PTB110 | 2017-08-15 | 2018-08-31 | N0640858
Met One | 10m |  | Cup Anemometer | 014A | 2017-08-15 | 2018-08-31 | W14201 |  | 0.447 m/s
Met One | 10m |  | Wind Vane | 024A | 2017-08-15 | 2018-08-31 | W12324 |  | 720 deg
Hyquest Solutions | 1m |  | Rain Gauge | TB3/0.2mm | 2017-08-15 | 2018-08-31 | 17381 |  | 0.2 mm/count
Ingenieurbüro | 2m |  | Silicon Irradiance Sensor (Cleaned) | SI-02-x | 2017-08-15 | 2018-08-31 | 02-00000-05-17260041
Ingenieurbüro | 2m |  | Silicon Irradiance Sensor (Dirty) | SI-02-x | 2017-08-15 | 2018-08-31 | 02-00000-05-17260042
FIELDS
time | Date and time according to ISO8601 (YYYY-MM-DD hh:mm)
dhi_pyr | Diffused horizontal irradiance (W/m2) from thermopile pyranometer (SPN1)
ghi_pyr_1 | Global horizontal irradiance (W/m2) from thermopile pyranometer
ghi_pyr_2 | Global horizontal irradiance (W/m2) from thermopile pyranometer
air_temperature | Air temperature (Degrees Celsius)
relative_humidity | Relative humidity (%)
barometric_pressure | Mean sea level atmospheric pressure (hPa)
precipitation | Precipitation (mm)
wind_speed | Wind speed (m/s)
wind_from_direction | Wind direction in degrees north, counted clockwise
gti_clean | Global Tilted Irradiance (W/m2) from silicon irradiance sensor (cleaned)
gti_soil | Global Tilted Irradiance (W/m2) from silicon irradiance sensor (dirty)
sensor_cleaning | 1 (yes) / 0 (no)
comments