## Metadata
LOCATION
Site name | PK_Solar_Khuzdar_BUET
Equipment | Tier 2 station with Rotating Shadowband Irradiometer
Host institution | Baluchistan University of Engineering and Technology (B-UET)
Elevation (m) | 1260
Latitude (positive north, decimal degrees) | 27.8178
Longitude (positive east, decimal degrees) | 66.6294
TIME
Time zone | UTC+5
Summarisation interval | 10 minute(s)
Original data temporal resolution | 10 minute(s)
SERVICE PROVIDER
Company | CSP Services GmbH
Address | Friedrich-Ebert-Ufer 30, 51143 Köln, Germany
Tel. | +49 2203 9590030
Web | info@cspservices.de
Email | www.csp-services.de
SENSOR SUMMARY
Sensor manufacturer | Height | Orientation | Sensor type | Model | Start date | End date | Serial number | Slope | Offset
CSPS | 2 m |  | RSI | Twin-RSI | 2015-09-22 00:01 | 2016-04-21 19:10 | CSPS.MS.14.001.0008
CSPS | 2 m |  | RSI | Twin-RSI | 2016-04-21 19:11 |  | CSPS.MS.14.001.0012
Kipp & Zonen | 2 m |  | Pyranometer | CMP10 | 2015-09-22 00:01 |  | 140600
Campbell Scientific | 2 m |  | Temperature and humidity | CS215 | 2015-09-22 00:01 |  | E12268
Setra | 2 m |  | Barometric pressure | Setra 278 | 2015-09-22 00:01 |  | 6015986
NRG | 10 m |  | Anemometer | NRG40C | 2015-09-22 00:01 |  | 1795-00229371
NRG | 10 m |  | Wind direction | NRG200 | 2015-09-22 00:01
FIELDS
time | Date and time according to ISO8601 (yyyy-mm-dd HH:MM)
ghi_pyr | Global horizontal irradiance (W/m²) from thermopile pyranometer
ghi_rsi | Global horizontal irradiance (W/m²) from Rotating Shadowband Irradiometer
dni | Direct normal irradiance (W/m²) from thermopile pyrheliometer
dhi | Diffused horizontal irradiance (W/m²) from thermopile pyranometer
air_temperature | Air temperature (°C) at 2 m height
relative_humidity | Relative humidity (%) at 2 m height
wind_speed | Wind speed (m/s) at 10 m height
wind_speed_of_gust | Maximum wind speed in the integration interval
wind_from_direction_st_dev | Wind direction in degrees north, counted clockwise (standard deviation)
wind_from_direction | Wind direction in degrees north, counted clockwise
barometric_pressure | Ambient air pressure in hPa
sensor_cleaning | 1 (yes) / 0 (no)
comments